Mandatory Language for Monitoring and Reporting Violation

Failure to Submit a Disinfectant Level Quarterly Operating Report (DLQOR)

MONITORING, ROUTINE (DBP), MAJOR/CHLORINE

The following water systems have violated the monitoring and reporting requirements set by Texas Commission on Environmental Quality (TCEQ) in Title 30, Texas Administrative Code (30 TAC), Section 290, Subchapter F. Public water systems are required to properly disinfect water before distribution, maintain acceptable disinfection residuals within the distribution system, monitor the disinfectant residual at various locations throughout the distribution system, and report the results of that monitoring to the TCEQ on a quarterly basis.

Results of regular monitoring are an indicator of whether or not your drinking water is safe from microbial contamination.

This/This violation occurred in the monitoring period: 04/01/2026 - 06/30/2026

We are taking the following actions to address this issue:

The required Disinfectant Level Quarterly Operating Report has been submitted to TCEQ. We have reviewed our reporting procedures and implemented additional internal tracking measures to ensure all future monitoring reports are submitted accurately and on time. We will continue to monitor our disinfectant levels as required and remain in compliance with all state drinking water regulations.

Please share this information with all people who drink this water, especially those who may not have received this notice directly (i.e., people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have questions regarding this matter, you may contact HMW-SUD at 281-356-5060.

Posted /Delivered on: 10/16/2026

TOWERING OAKS AND ROSEWOOD HILLS-TX1700317

RIMWICK FOREST-TX1700156

DEER RIDGE SUBDIVISION- TX1700307

BRANDYWINE PINES- TX1011219

TOMBALL INDUSTRIAL PARK- TX1011919

TRAILWOOD SUBDIVISION-TX1011521

TREICHEL WOODS ESTATES- TX1012397

WILLOW OAKS MOBILE HOME SUBIDVISION-TX1011812